## Slide 1: Options for the Existing Library
FEASIBILITY STUDY
Lynnfield Library
Priorities
3 Options
Next Steps
02/27/24

## Slide 2: Priorities
FEASIBILITY STUDY
Lynnfield Library
Library Programs/Group Meetings
Create alternates for additions to building that would expand programming and meeting capabilities
Repairs
Maintenance/Safety and Building Code issues Roof, Water in Basement, ADA compliant Bathrooms and Ramps, Electrical issues etc...
Mezzanine
Noise abatement between second floor balcony meeting area and main reading room
Staff Space
Improve staff work areas and service desks for efficiency and service
Site Accessibility
Improve cross walks and handicap access to the building.
Children’s
Improve program space within children’s reading area
Off-Site
Consider whether any program can be located off-site to make space for other functions
Building Character
Preservation of the facade to the extent it reflects the historic nature of the common.
Collections
Storing DVD’s and movies in other areas to open that shelf space.
Spatial Quality
Keep/preserve the open space on the main floor.

## Slide 3: Options
FEASIBILITY STUDY
Lynnfield Library
Option 1 Repairs & Code Compliance
Option 2 Build on Option 1, Incorporating Several Library Service Enhancements Expand in Rear Courtyard
Reclaim Attic Space in Back
Option 3 Build on 1 & 2, Incorporating More Library Service Enhancements
Reclaim Additional Attic Space in Front

## Slide 4: Option 1 – CODE COMPLIANCE
FEASIBILITY STUDY
Lynnfield Library
GOALS
Upgrade/Repair Building Systems
Address Accessibility (Entrance, Toilets, Breakroom)
Possibly Expand Mezzanine Collection
Possibly Locate Friends Off-Site
Second Floor Main Floor Basement

## Slide 5: Option 1 – CODE COMPLIANCE
FEASIBILITY STUDY
Lynnfield Library

## Slide 6: Option 1 – CODE COMPLIANCE
FEASIBILITY STUDY
Lynnfield Library

## Slide 7: Option 1 – CODE COMPLIANCE
FEASIBILITY STUDY
Lynnfield Library

## Slide 8: Option 1 – CODE COMPLIANCE
FEASIBILITY STUDY
Lynnfield Library
STORAGE

## Slide 9: Option 1 – CODE COMPLIANCE
FEASIBILITY STUDY
Lynnfield Library
STORAGE
FRIENDS

## Slide 10: Option 1 – CODE COMPLIANCE
FEASIBILITY STUDY
Lynnfield Library
Programmatic Impacts
Added Storage
Seating Maintained
Reduced Collection Capacity (approx. 5%)
Staff Breakroom Very Small, Basement Location
Friends Off-Site

## Slide 11: Option 2 – COURTYARD ADDITION
FEASIBILITY STUDY
Lynnfield Library
Goals
Option 1 Improvements, Plus:
Add Service Core in Courtyard
Add a Community Meeting Room
Add a Group Study
Add a Teen Room
Consolidate Staff
Expand Genealogy
Provide Adequate offices
Second Floor Main Floor Basement

## Slide 12: Option 2 – COURTYARD ADDITION
FEASIBILITY STUDY
Lynnfield Library

## Slide 13: Option 2 – COURTYARD ADDITION
FEASIBILITY STUDY
Lynnfield Library

## Slide 14: Option 2 – COURTYARD ADDITION
FEASIBILITY STUDY
Lynnfield Library

## Slide 15: Option 2 – COURTYARD ADDITION
FEASIBILITY STUDY
Lynnfield Library

## Slide 16: Option 2 – COURTYARD ADDITION
FEASIBILITY STUDY
Lynnfield Library

## Slide 17: Option 2 – COURTYARD ADDITION
FEASIBILITY STUDY
Lynnfield Library
STORAGE

## Slide 18: Option 2 – COURTYARD ADDITION
FEASIBILITY STUDY
Lynnfield Library

## Slide 19: Option 2 – COURTYARD ADDITION
FEASIBILITY STUDY
Lynnfield Library

## Slide 20: Option 2 – COURTYARD ADDITION
FEASIBILITY STUDY
Lynnfield Library
Programmatic Impacts
Maintained Adult Collection Capacity
Increased Seating (approx. 45%)
Added Community Meeting Room (49 seats)
Added Group Study
Expanded Genealogy
Added/Improved Office Space
Consolidated Staff Workroom
Added Storage
More Flexible Children’s Space
Dedicated Teen Space with 2x Seating
Maintains Childrens Collection
Staff Breakroom Small, Basement Location
Friends Off-Site

## Slide 21: Option 3 – COURTYARD ADDITION/VERTICAL EXPANSION
FEASIBILITY STUDY
Lynnfield Library
Goals
Option 2 Improvements, Plus:
Larger Community Meeting Room
Larger Children’s Space
Second Floor Main Floor Basement

## Slide 22: Option 3 – COURTYARD ADDITION/VERTICAL EXPANSION
FEASIBILITY STUDY
Lynnfield Library

## Slide 23: Option 3 – COURTYARD ADDITION/VERTICAL EXPANSION
FEASIBILITY STUDY
Lynnfield Library

## Slide 24: Option 3 – COURTYARD ADDITION/VERTICAL EXPANSION
FEASIBILITY STUDY
Lynnfield Library

## Slide 25: Option 3 – COURTYARD ADDITION/VERTICAL EXPANSION
FEASIBILITY STUDY
Lynnfield Library

## Slide 26: Option 3 – COURTYARD ADDITION/VERTICAL EXPANSION
FEASIBILITY STUDY
Lynnfield Library

## Slide 27: Option 3 – COURTYARD ADDITION/VERTICAL EXPANSION
FEASIBILITY STUDY
Lynnfield Library

## Slide 28: Option 3 – COURTYARD ADDITION/VERTICAL EXPANSION
FEASIBILITY STUDY
Lynnfield Library

## Slide 29: Option 3 – COURTYARD ADDITION/VERTICAL EXPANSION
FEASIBILITY STUDY
Lynnfield Library

## Slide 30: COURTYARD ADDITION/ VERTICAL EXPANSION
FEASIBILITY STUDY
Lynnfield Library
Programmatic Impacts
Expanded Adult Collection Capacity (approx. 14%)
Increased Seating (approx. 50%)
Community Meeting Room (49 seats), with Kitchenette
Added Group Study
Expanded Genealogy
Added/Improved Office Space
Expanded Staff Workrooms
Added Storage
Larger/More Flexible Children’s Space
Dedicated Teen Space with 2x Seating
Larger Staff Breakroom on Main Level
Friends On-Site
Expanded Childrens Collection (approx. 10%)
Option 3 –

## Slide 31: Comparison – All Options
FEASIBILITY STUDY
Lynnfield Library

## Slide 32: Next Steps
FEASIBILITY STUDY
Lynnfield Library
Early March Cost Projection
Mar. 6, 6:00 pm Presentation to Select Board

## Slide 33: THANKS!
FEASIBILITY STUDY
Lynnfield Library